D&C  JRC/HGM:lmm


WHEN UPDATING THIS MASTER SPEC SECTION PLEASE REMEMBER TO ALSO MAKE APPLICABLE MODIFICATIONS TO SECTIONS 210525 AND 220576.
SECTION 232004
AIR GAP FITTINGS
PART 1   GENERAL

1.01
REFERENCES


A.
Comply with the applicable requirements of ASME A112.36.2M - Cleanouts, and ASME A112.1.2 - Drainage Funnels and Air Gaps.

1.02
SUBMITTALS


A.
Product Data:  Catalog sheets, specifications, and installation instructions for each item specified except fasteners.

PART 2   PRODUCTS

2.01
AIR GAP FITTING

PARAGRAPH BELOW ALSO AVAILABLE IN POLISHED CHROME PLATED CAST BRONZE BODY.

A.
Coated cast iron body with air gaps, set screw or threaded inlet, and outlet connection to match piping option selected.

PART 3   EXECUTION

3.01
INSTALLATION


A.
Install the Work of this section in accordance with the manufacturer’s printed installation instructions, unless otherwise specified.

END OF SECTION
Updated 07/08/09

Printed 4/15/2015
232004- 1
Project No. 


