D&C  JAP:dh/dja

SECTION 329219
SEEDING

UNDER 20,000 SQ. FT. IS CONSIDERED A SMALL SEEDING JOB.
PART 1   GENERAL

1.01
SUBMITTALS


A.
Product Data; Hydro Mulch:  Manufacturer’s specifications and application rate.


B.
Product Data; Erosion Control Blanket:  Manufacturer’s specifications.

USE PARAGRAPH BELOW ONLY FOR SMALL JOBS.

C.
Sample:  One pound of seed in vendor’s unopened package with label and seed analysis.

1.02
QUALITY ASSURANCE


A.
Field Examples:  Seed samples will be taken by the Director’s Representative 30 days before sowing and sent to the New York State Seed Testing Laboratory, 6 Harriman Campus Road, Albany, NY 12206 for testing.  Test analysis will indicate species, purity, percent of germination, and weed content.  Results will be sent directly to the Director for acceptance or rejection based on these tests.  Pay all expenses incurred for testing.

USE PARAGRAPH ABOVE ONLY FOR LARGE JOBS; PARAGRAPH BELOW ONLY FOR SMALL JOBS.

A.
Provide prepackaged seed readily available to the public with quality and purity equal to product of O.M. Scotts and Son, Marysville, OH.  On-the-job or made-to-order mixes will not be accepted.

1.03
DELIVERY STORAGE AND HANDLING


A.
Deliver fertilizer in manufacturer’s standard size bags or cartons showing weight, analysis, and the name of the manufacturer.  Store as approved by Director’s Representative.


B.
Store all seed at the site in a cool dry place as approved by the Director’s Representative.  Replace any seed damaged during storage.

USE PARAGRAPH BELOW ONLY FOR LARGE JOBS.

C.
Deliver seeds, 30 days in advance of anticipated use, in vendor’s unopened packages bearing labels showing vendor’s name and seed analysis by weight.


D.
Deliver erosion control blanket in manufacturer’s standard packing material, showing the name of the manufacturer.  Store as approved by the Director’s Representative.

1.04
SCHEDULING


A.
Time For Seeding:  Optimum period to sow permanent grass seed is generally between April 1st and May 15th or between August 15th and October 1st. Schedule application for when weather conditions permit or as Directed. 


1.
Provide temporary seed and mulch when final grading is complete while waiting for optimal seeding period.



2.
Provide temporary seed and mulch for temporary cover on disturbed ground not to be worked on for more than 7 days.



3.
Provide temporary seed and mulch on disturbed earth prior to temporary shutdown of construction.
PART 2   PRODUCTS

2.01
FERTILIZER


A.
Fertilizer:  Mixed commercial fertilizers shall contain total nitrogen, available phosphoric acid and soluble potash in the ratio of 10-6-4 (50% N/UF).  50% of total nitrogen shall be derived from ureaform furnishing a minimum of 3.5% water insoluble nitrogen (3.5% WIN).  The balance of the nitrogen shall be present as methylene urea, water soluble urea, nitrate and ammoniacal compounds.


B.
Other fertilizers meeting DOT Specification Section 713-03 Fertilizer can be used.

2.02
SEED


A.
Furnish fresh, clean, new-crop seed mixed in the proportions specified for species and variety, and conforming to Federal and State Standards.


B.
Acceptable material in a seed mixture other than pure live seed consists of nonviable seed, chaff, hulls, live seed of crop plants and inert matter.  The percentage of weed seed shall not exceed 0.1 percent by weight.


C.
All seed will be rejected if the label or test analysis indicates any of the following contaminates:  Timothy, Orchard Grass, Sheep Fescue, Meadow Fescue, Canada Blue Grass, Alta Fescue, Kentucky 31 Fescue, and Bent Grass.


D.
Provide the following seed mixture:



A = Min. Percentage of Germination



B = Min. Purity Percentage



C = Weight Pure Live Seed in Mixture

USE MIX “A” BELOW FOR URBAN LAWN MIX
SEED MIX “A”
	Name
	Variety
	A
	B
	C

	Chewings Fescue

(Festuca rubra commutata)
	Banner, Highlight, Jamestown, or an approved equal.
	85
	97
	25

	Kentucky Bluegrass *

(Poa pratensis)
	Barron, Flyking, Glade, or an approved equal.
	80
	95
	55

	Perennial Ryegrass **

(Lolium perenne)
	Manhatten II, Pennfine, Yorktown II, or an approved equal.
	90
	98
	20


USE MIX “B” BELOW FOR ROADSIDE MIX
SEED MIX “B”

	Name
	Variety
	A
	B
	C

	Tall Fescue

(Festuca arundinacea)
	Alta, Kentucky 13 or an approved equal.
	95
	---
	15

	Creeping Red Fescue

(Festuca rubra trichophylla)
	Ensylva
	95
	97
	20

	Kentucky Bluegrass *

(Poa pratensis)
	Baron, Flyking, Glade, or an approved equal.
	75
	95
	25

	Perennial Ryegrass **

(Lolium perenne)
	Manhatten II, Pennfine, Yorktown II, or an approved equal.
	90
	95
	40



*Approximately equal proportions of 2 or more improved Bluegrass varieties as listed in the Cornell Recommendations for Turfgrass.


**One or more of the improved Ryegrass varieties as listed in the Cornell Recommendations for Turfgrass.

CHECK WITH ENVIRONMENTAL PERMIT UNIT FOR THE CORRECT WETLAND MIX TO USE BELOW.
SEED MIX “C” - WETLAND SEED MIX

	Name
	Variety
	A
	B
	C

	Annual Ryegrass

(Loium multiflorum)
	Commercial
	98
	97
	35

	Red Top

(Agrostis alba)
	Commercial
	93
	98
	27

	Switchgrass

(Panicum virgatum)
	Commercial
	---
	---
	10

	Meadow Foxtail

(Alopecurus pratensis)
	Commercial
	89
	98
	10

	Soft Stem Bulrush

(Scirpus validus)
	Commercial
	---
	---
	10

	Fox Sedge

(Carex vulpinoidea)
	Commercial
	---
	---
	4

	Joe Pye Weed

(Eupatorium maculatus)
	Commercial
	---
	---
	4


SEED MIX “D” - WETLAND SEED MIX

	Name
	Variety
	A
	B
	C

	Annual Ryegrass

(Lolium multiflorum)
	Commercial
	90
	---
	30

	Switchgrass

(Panicum virgatum)
	Commercial
	---
	---
	20

	Redtop Panic Grass

(Panicum rigidulum)
	Commercial
	---
	---
	20

	Green Bulrush

(Scirpus atrovirens)
	Commercial
	---
	---
	20

	Fox Sedge

(Carex vulpinoidea)
	Commercial
	---
	---
	10


USE SEED MIX “E” BELOW IF INNER FRINGE OF DRAW DOWN ZONE - ORDINARY HIGH WATER AREA.
SEED MIX “E” - WETLAND HUMMOCK MIX

	Name
	Variety
	A
	B
	C

	 Fox Sedge

(Carex vulpinoidea)
	Commercial
	---
	---
	45

	Rice Cut Grass

(Leersia oryzoides)
	Commercial
	---
	---
	4

	Fringed Sedge

(Carex crinita)
	Commercial
	---
	---
	17

	Soft Rush

(Juncus effusus)
	Commercial
	---
	---
	4

	Green Bulrush

(Scirpus atrovirens)
	Commercial
	---
	---
	15

	Bladder Sedge

(Carex intumescens)
	Commercial
	---
	---
	15


USE SEED MIX “F” BELOW FOR UNDISTURBED AREAS NOT BEING MAINTAINED.
SEED MIX “F” - WILDFLOWER/RESTORATION EROSION MIX

	Name
	Variety
	A
	B
	C

	Red Fescue

(Festuca rubra)
	Commercial
	92
	98
	42

	Annual Ryegrass

(Lolium multiflorum)
	Commercial
	98
	97
	41

	Queen Anne’s Lace **

(Daucus carota)
	Commercial
	---
	---
	1

	Yarrow **

(Achillea millefolium)
	Commercial
	---
	---
	1

	Ox-eye Daisy **

(Chrysanthemum leucanthemum) 
	Commercial
	78
	99
	1

	Smartweed **

(Polygonum pensylvanicum)
	Commercial
	---
	---
	1

	Red Top

(Agrostis alba)
	Commercial
	93
	98
	4

	Bird’s-foot Trefoil *

(Lotus corniculatus)
	Commercial
	67
	95
	8

	New England Aster **

(Aster novae-angliae)
	Commercial
	82
	95
	1


2.03
MULCH


A.
Dry Application, Straw:  Stalks of oats, wheat, rye or other approved crops which are free of noxious weeds.  Weight shall be based on a 15 percent moisture content.


B.
Hydro Application:  Colored wood cellulose fiber product specifically designed for use as a hydro-mechanical applied mulch.  Acceptable Product:  Conwed Hydro Mulch, Conwed Fibers, 231 4th Street SW, Hickory, NC.

DELETE ARTICLE BELOW IF EROSION CONTROL BLANKET IS NOT INDICATED ON DRAWINGS.
2.04
EROSION CONTROL BLANKET


A.
Erosion Control Blanket:  Product - SC150 by North American Green, 14649 Highway 41 North, Evansville, IN 47725, (800) 772-2040, www.nagreen.com.

DO NOT USE SUBPARAGRAPH BELOW AT SECURE FACILITIES.


1.
Stakes:  North American Green (6” wire staples).

USE SUBPARAGRAPH BELOW AT ALL SECURE FACILITIES.


2.
Stakes:  North American Green (6” Bio-Stake).

PART 3   EXECUTION

3.01
PREPARATION


A.
Seed Bed:  Scarify soil to a depth of 3 inches in compacted areas.  Smooth out unsightly variations, bumps, ridges, and depressions which will hold water.  Remove stones, litter, or other objectionable material.



1.
Obtain written approval of seed bed from the Director’s Representative before commencing seeding operations.

3.02
FERTILIZING


A.
Apply 10-6-4 fertilizer evenly at the rate of 40 pounds per 1000 sq ft or 2 pounds of nitrogen per 1000 sq ft.

3.03
SEEDING


A.
Assume all risks when seed is sowed before approval of seed analysis.


B.
Do not seed when the wind velocity exceeds 5 miles per hour.


C.
Application Rate:



1.
Seed Mix “A”:  5 pounds per 1,000 sq. ft.

DELETE MIXTURE BELOW IF NOT INDICATED ON DRAWINGS.


2.
Seed Mix “B”:  5 pounds per 1,000 sq. ft.



3.
Seed Mix “C”:  15 pounds per acre.



4.
Seed Mix “D”:  15 pounds per acre.



5.
Seed Mix “E”:  3.25 pounds per acre.



6.
Seed Mix “F”:  47 pounds per acre @ ration of 42 pounds grass seed mix; * 4 pounds legume; ** 1 pound perennial wildflowers.


D.
Dry Application:  Sow seed evenly by hand or seed spreader on dry or moderately dry soil.


E.
Hydroseeding:



1.
Apply seeding materials with an approved hydroseeder.



2.
Fill tank with water and agitate while adding seeding materials.  Use sufficient fertilizer, mulch, and seed to obtain the specified application rate.  Add seed to the tank after the fertilizer and mulch have been added.  Maintain constant agitation to keep contents in homogeneous suspension.  Prolonged delays in application or agitation that may be injurious to the seed will be the basis of rejection of material remaining in tank.



3.
Distribute uniformly a slurry mixture of water, seed, fertilizer, and mulch at a minimum rate of 57 gallons per 1000 sq ft (2500 gallons per acre).  The Director’s Representative may order the amount of water increased if distribution of seeding materials is not uniform.

3.04
MULCHING


A.
Dry Application:  Within one day after seeding, cover the seeded areas with a uniform blanket of straw mulch at the rate of 100 pounds per 1000 sq ft of seeded area.


B.
Hydro Application:  Apply approved mulch in accordance with the manufacturer’s written instructions and recommended rates of application.

DELETE BELOW IF EROSION CONTROL BLANKET IS NOT INDICATED ON DRAWINGS.
3.05
EROSION CONTROL BLANKET

A.
Erosion Control Blanket:  Within one day after seeding, cover sloped areas with a uniform blanket of erosion control blanket.  Apply approved blanket in accordance with the manufacturer’s written instructions.  Do not apply straw mulch in area that erosion control blanket will be covering.


B.
Stakes:  Install approved stakes in accordance with the manufacturer’s written instructions.

3.06
LAWN ESTABLISHMENT


A.
Maintain the grass at heights between 3 inches and 3-1/2 inches on a weekly basis until the Final Acceptance of the Work.

B.
Water and protect all seeded areas until final acceptance of the lawn.

3.07
FINAL ACCEPTANCE


A.
Final acceptance of lawn areas will be granted when a uniform stand of acceptable grass is obtained, with a minimum of 95 percent coverage.  Portions of the lawn areas may be accepted at various times at the discretion of the Director’s Representative.

DELETE DRY OR HYDRO BELOW DEPENDING ON WHICH WAS NOT USED IN SPEC.

B.
Unacceptable lawn areas, dry application:  Reseed as specified and fertilized at one-half the specified rate.


C.
Unacceptable lawn areas, hydro application:  Reseed, fertilize, and mulch at one-half the specified rate, use full water rate.


D.
At the physical completion of the Work, the State will assume maintenance responsibilities of the lawn areas.

END OF SECTION
Updated 12/30/2015
Printed 07/20/2017
329219 - 7
Project No. 


