D&C  WAF:amp


SECTION 330513
CHANGING ELEVATIONS OF VALVE BOXES

PART 1   GENERAL

1.01
RELATED WORK SPECIFIED ELSEWHERE 


A.
Earthwork:  Section 310000.

PART 2   PRODUCTS

2.01
MATERIAL


A.
Valve Box Extension:  Approved cast iron.

PART 3   EXECUTION

3.01
ADJUSTMENTS


A.
Raise or lower existing valve boxes to the grades shown on the drawings or fixed by the Director's Representative.


B.
Replace any valve boxes damaged during the Work.

END OF SECTION

Updated 07/08/09

Printed 7/8/2009
330513 - 1
Project No. 


