
SECTION 331221
YARD HYDRANTS

PART 1   GENERAL

1.01
RELATED WORK SPECIFIED ELSEWHERE


A.
Earthwork:  Section 310000.

1.02
SUBMITTALS


A.
Product Data:  Catalog cuts of yard hydrants and appurtenances.

PART 2   PRODUCTS

2.01
YARD HYDRANTS


A.
Yard hydrants shall be anti-freezing and equipped with the following:



1.
Double - ball check valve on the drain that is vented to atmospheric air and has Teflon balls for zero percent water absorption.



2.
Vacuum breaker permanently attached to the outlet that prevents unwanted back-siphonage from an attached hose.



3.
Acceptable Model: Model BFH M-100 as manufactured by Murdock, Inc., Cincinnati, Ohio 45204, (513)471-7700. 

2.02
MISCELLANEOUS MATERIALS


A.
Stone: No. 2 Broken stone. 

PART 3   EXECUTION

3.01
INSTALLATION


A.
Install yard hydrant in accordance with manufacturer’s instructions and recommendations.


B.
Provide thrust blocks as indicated.  Backfill with 2 cubic feet of crushed stone around the waste or drip outlet with 1/2 of the stone below the outlet.  Arrange remaining balance of stone around hydrant to prevent damage to the connections from mechanical shock and to insure hydrant stability.

END OF SECTION

Updated 07/08/09

Printed 9/21/2018
331220 - 1
Project No.

