D&C  JEC/WAF:hf


SECTION 332002
PITLESS UNIT

PART 1   GENERAL

1.01
RELATED WORK SPECIFIED ELSEWHERE


A.
Submersible Well Pump:  Section 332001.

1.02
SUBMITTALS


A.
Product Data:  Manufacturer’s catalog sheets, specifications, and installation instructions.

1.03
QUALITY ASSURANCE


A.
Requirements of Regulatory Agencies:  Obtain approval for pitless unit from NYS Health Department Bureau of Public Water Supply.

PART 2   PRODUCTS

2.01
PITLESS UNIT

FILL IN MODEL NO. BELOW.  CHECK WITH HEALTH DEPARTMENT. TO VERIFY APPROVED MODEL NUMBERS.  WORD PROCESSING PERSON:  DELETE UNDERLINE BEFORE ENTERING INFORMATION.

A.
Pitless Unit:  Model No. JX-1 by Maass, Muskego, Wisconsin, or Model No. ________ by Baker Mfg., Co., Evansville, Wisconsin.


B.
Accessories:



1.
Water Level Equipment:  Tire air pump, copper tubing, and altitude gauge, Marsh Standard Type 4 with 3-1/2” dial.



2.
Well Vent:  3/4” mushroom vent; Flagg Figure S-800.

PART 3   EXECUTION

3.01
INSTALLATION


A.
Install the Work of this Section in accordance with the manufacturer’s printed instructions.


B.
Turn tire air pump and calibrated pressure gauge over to the Director’s Representative.

END OF SECTION

Updated 07/08/09

Printed 4/14/2015
332002- 2 -
Project No. 

