D&C  DEB:ss


SECTION 334626
GEOTEXTILE SUBSURFACE DRAINAGE FILTRATION
USE THIS SECTION ONLY WITH APPROVAL OF SOILS DESIGNER.
PART 1   GENERAL

1.01
RELATED WORK SPECIFIED ELSEWHERE


A.
Liquid Applied Waterproofing System:  Section 071400.


B.
Earthwork:  Section 310000.

1.02
SUBMITTALS


A.
Product Data:  Manufacturer's catalog sheets, specifications, and installation instructions for each item specified.


B.
Samples:  12 inch x 12 inch sample of prefabricated drainage panel.

PART 2   PRODUCTS

2.01
MATERIALS


A.
Prefabricated Drainage Panel; Any of the Following:



1.
MIRADRAIN 6000 by Nicolon/Mirafi Group, 3500 Parkway Ln., Suite 500, Norcross, GA  30092, (800) 234-0484.



2.
J-Drain 300 Composite Drainage System by JDR Enterprises, Inc., 725 Branch Dr., Alpharetta, GA  30201, (800) 843-7569.



3.
Hydraway 300 by Monsanto, 2381 Centerline Industrial Dr., St. Louis, MO  63146, (800) 325-4330.

PART 3   EXECUTION

3.01
PROTECTION


A.
Protect prefabricated drainage panel from sunlight during transportation and storage.

3.02
INSTALLATION


A.
Install the Work of this Section in accordance with the manufacturer's printed instructions.

END OF SECTION

Updated 07/08/09

Printed 4/14/2015
334626 - 1
Project No.


