## Lot 1 - Product Price List
Contractor's Name: | Solar Liberty Energy Systems, Inc.
Bidder's Part/Stock Number | Item Description | Manufacturer Name | Manufacturer's Part Number | Product Category | List Price | Unit of Measure (UOM) | Qty per UOM | Total Discount | NYS Contract Price
SL10PV 600V | Wiring, #10 pv 600 volt, per foot | Kris-Tech Wire | 10PV 600V | Ancillary Products | 0.32 | Each | 1 | 14% | 0.28
SLF4SK15C-1-4XP | 1000 VDC Floating Contactor Enclosure | Solar BOS | F4SK15C-1-4XP | Ancillary Products | 1568.7 | Each | 1 | 14% | 1349.08
SLPS-240-480-4XP | AC to DC Power Supply | Solar BOS | PS-240-480-4XP | Ancillary Products | 1042.5 | Each | 1 | 14% | 896.55
SLCSK400C-24A-15-4XF | 1000 VDC AFCI Contactor Combiner Box | Solar BOS | CSK400C-24A-15-4XF | Ancillary Products | 2823.6 | Each | 1 | 13% | 2428.3
SLP850 | SolarEdge 2:1 P850 Power Optimizer | SolarEdge | P850 | Ancillary Products | 103.39 | Each | 1 | 14% | 88.91
SLSB5.0-1SP-US-40 | SB 5.0 US Grey 240V AFCI w/ disco | SMA | SB5.0-1SP-US-40 | Inverters | 1377.27 | Each | 1 | 14% | 1184.45
SLSB6.0-1SP-US-40 | SB 6.0 US Grey 240V AFCI w/ disco | SMA | SB6.0-1SP-US-40 | Inverters | 1477.85 | Each | 1 | 14% | 1270.95
SLSB7.0-1SP-US-40 | SB 7.0 US Grey 240V AFCI w/ disco | SMA | SB7.0-1SP-US-40 | Inverters | 1678.98 | Each | 1 | 14% | 1443.92
SLRSB-2S-US-10 | Rapid Shutdown Box 4 String Standard | SMA | RSB-2S-US-10 | Inverters | 435.9 | Each | 1 | 14% | 374.87
SLRSC-1X-US-10 | Rapid Shutdown Controller | SMA | RSC-1X-US-10 | Inverters | 74.58 | Each | 1 | 14% | 64.14
SL03-50-1000-2-41 | Sunny TriPower Core 1 50 | SMA | 03-50-1000-2-41 | Inverters | 6871.07 | Each | 1 | 14% | 5909.12
SLSB7.7-1SP-US-40/41 | SMA Sunny Boy 7.7kW Inverter | SMA | SB7.7-1SP-US-40/41 | Inverters | 1771.7 | Each | 1 | 14% | 1523.67
SL03-33-1000-2-41 | SMA Sunny TriPower Core 1 33-US Inverter | SMA | 03-33-1000-2-41 | Inverters | 53514.79 | Each | 1 | 14% | 4602.27
SL3-125-1500-2-20 | SMA Sunny HighPower Peak 3 125K Inverter | SMA | 3-125-1500-2-20 | Inverters | 13300.78 | Each | 1 | 14% | 11438.67
SLSE9K-USR28NNU4 | Solar Edge 9K 3-Phase Inverter | SolarEdge | SE9K-USR28NNU4 | Inverters | 3510.49 | Each | 1 | 14% | 3019.03
SLSE14.4K-USR28NNU4 | Solar Edge 14.4K 3-Phase Inverter | SolarEdge | SE14.4K-USR28NNU4 | Inverters | 5079.13 | Each | 1 | 14% | 4368.06
SLSE20K-USR48NNU4 | Solar Edge 20K 3-Phase Inverter | SolarEdge | SE20K-USR48NNU4 | Inverters | 2229.79 | Each | 1 | 14% | 1917.62
SLSE33.3K-USR48NNU4 | Solar Edge 33.3K 3-Phase Inverter | SolarEdge | SE33.3K-USR48NNU4 | Inverters | 3737.14 | Each | 1 | 14% | 3213.94
SLGS8048A-01 | Outback Radian GS8048A Inverter/Charger with grid interactive & standalone capability for batteries | Outback Power | GS8048A-01 | Inverters | 6224.72 | Each | 1 | 14% | 5353.26
SLPV-RM-0 | Grid connected solar photovoltaic system for use on a roof, sizes 20 kW to 100kW, designed for a 480V service. System includes design, solar modules, pitched or flat roof racking, centralized/string inverter(s), fusible AC disconnect(s) and DC disconnect(s), solar combiner panel(s) with circuit breakers, system monitoring module, PV production meter, cable/conduit, and PV system safety labels. Does not include permitting, utility upgrades, labor, electrical upgrades or installation. System is priced per Watt. | Solar Liberty Energy Systems, Inc. | SLPV-RM-0 | Packaged Solar Systems | 1.76 | $ per Watt | 1 | 10% | 1.58
SLPV-RM-100 | Grid connected solar photovoltaic system for use on a roof, sizes 100 - 999 kW, designed for a 480V service. System includes design, solar modules, pitched or flat roof racking, centralized/string inverter(s), fusible AC disconnect(s) and DC disconnect(s), solar combiner panel(s) with circuit breakers, system monitoring module, PV production meter, cable/conduit, and PV system safety labels. Does not include permitting, utility upgrades, labor, electrical upgrades or installation. System is priced per Watt. | Solar Liberty Energy Systems, Inc. | SLPV-RM-100 | Packaged Solar Systems | 1.5 | $ per Watt | 1 | 10% | 1.35
SLPV-RM-1000 | Grid connected solar photovoltaic system for use on a roof, sizes 1000+ kW, designed for a 480V service. System includes design, solar modules, pitched or flat roof racking, centralized/string inverter(s), fusible AC disconnect(s) and DC disconnect(s), solar combiner panel(s) with circuit breakers, system monitoring module, PV production meter, cable/conduit, and PV system safety labels. Does not include permitting, utility upgrades, labor, electrical upgrades or installation. System is priced per Watt. | Solar Liberty Energy Systems, Inc. | SLPV-RM-1000 | Packaged Solar Systems | 1.35 | $ per Watt | 1 | 10% | 1.21
SLPV-GM-0 | Grid connected solar photovoltaic system for installation on the ground, sizes 20 kW to 100 kW, designed for a 480V service. System includes design, solar modules, ground mount racking, centralized/string inverter(s), fusible AC disconnect(s) and DC disconnect(s), solar combiner panel(s) with circuit breakers, system monitoring module, PV production meter, cable/conduit, and PV system safety labels. Does not include permitting, utility upgrades, labor, electrical upgrades or installation. System is priced per Watt. | Solar Liberty Energy Systems, Inc. | SLPV-GM-0 | Packaged Solar Systems | 1.98 | $ per Watt | 1 | 10% | 1.78
SLPV-GM-100 | Grid connected solar photovoltaic system for installation on the ground, sizes 100-499 kW, designed for a 480V service. System includes design, solar modules, ground mount racking, centralized/string inverter(s), fusible AC disconnect(s) and DC disconnect(s), solar combiner panel(s) with circuit breakers, system monitoring module, PV production meter, cable/conduit, and PV system safety labels. Does not include permitting, utility upgrades, labor, electrical upgrades or installation. System is priced per Watt. | Solar Liberty Energy Systems, Inc. | SLPV-GM-100 | Packaged Solar Systems | 1.58 | $ per Watt | 1 | 10% | 1.42
SLPV-GM-500 | Grid connected solar photovoltaic system for installation on the ground, sizes 500-999 kW, designed for a 480V service. System includes design, solar modules, ground mount racking, centralized/string inverter(s), fusible AC disconnect(s) and DC disconnect(s), solar combiner panel(s) with circuit breakers, system monitoring module, PV production meter, cable/conduit, and PV system safety labels. Does not include permitting, utility upgrades, labor, electrical upgrades or installation. System is priced per Watt. | Solar Liberty Energy Systems, Inc. | SLPV-GM-500 | Packaged Solar Systems | 1.3 | $ per Watt | 1 | 10% | 1.17
SLPV-GM-1000 | Grid connected solar photovoltaic system for installation on the ground, sizes 1000-2499 kW, designed for a 480V service. System includes design, solar modules, ground mount racking, centralized/string inverter(s), fusible AC disconnect(s) and DC disconnect(s), solar combiner panel(s) with circuit breakers, system monitoring module, PV production meter, cable/conduit, and PV system safety labels. Does not include permitting, utility upgrades, labor, electrical upgrades or installation. System is priced per Watt. | Solar Liberty Energy Systems, Inc. | SLPV-GM-1000 | Packaged Solar Systems | 1.24 | $ per Watt | 1 | 10% | 1.11
SLPV-GM-2500 | Grid connected solar photovoltaic system for installation on the ground, sizes 2500+ kW, designed for a 480V service. System includes design, solar modules, ground mount racking, centralized/string inverter(s), fusible AC disconnect(s) and DC disconnect(s), solar combiner panel(s) with circuit breakers, system monitoring module, PV production meter, cable/conduit, and PV system safety labels. Does not include permitting, utility upgrades, labor, electrical upgrades or installation. System is priced per Watt. | Solar Liberty Energy Systems, Inc. | SLPV-GM-2500 | Packaged Solar Systems | 1.21 | $ per Watt | 1 | 10% | 1.09
SLDynoBond 8" | DynoBond 8" | DynoRaxx | DynoBond 8" | Racking Systems | 1.5 | Each | 1 | 6% | 1.41
SLDynoBond 38" | DynoBond 38" | DynoRaxx | DynoBond 38" | Racking Systems | 3 | Package | 1 | 5% | 2.82
SLDynoRaxx Two Leg Backet | DynoRaxx Two Leg Backet Ballasted Flat Roof Racking | DynoRaxx | DynoRaxx Two Leg Backet | Racking Systems | 19.95 | Each | 1 | 5% | 18.75
SLDynoRaxx Two Leg Backet | DynoRaxx Four Leg Backet Ballasted Flat Roof Racking | DynoRaxx | DynoRaxx Four Leg Backet | Racking Systems | 24.95 | Each | 1 | 5% | 23.45
SLDynoSlide Rail | DynoSlide Rail | DynoRaxx | DynoSlide Rail | Racking Systems | 19.25 | Each | 1 | 5% | 18.1
SLLocking Pin | Locking Pin | DynoRaxx | Locking Pin | Racking Systems | 1.15 | Each | 1 | 5% | 1.08
SLVBHN330SA17 | Panasonic N330/N325 W Panels 96-cell | Panasonic | VBHN330SA17 | Solar Modules (Solar Panels) | 425.7 | Each | 1 | 14% | 366.1
SLSPR-X22-360-COM | SunPower® X-Series 360W Commercial Solar Panels | SunPower | SPR-X22-360-COM | Solar Modules (Solar Panels) | 508.61 | Each | 1 | 14% | 437.4
SLSPR-X20-445-COM | SunPower® X-Series 445W Commercial Solar Panels | SunPower | SPR-X20-445-COM | Solar Modules (Solar Panels) | 493.73 | Each | 1 | 14% | 424.6
SLSPR-X21-460-COM | SunPower® X-Series 460W Commercial Solar Panels | SunPower | SPR-X21-460-COM | Solar Modules (Solar Panels) | 527.13 | Each | 1 | 14% | 453.33
SLSPR-X22-360-COM-MLSD | SunPower® X-Series 360W DC Commercial Solar Panels | SunPower | SPR-X22-360-COM-MLSD | Solar Modules (Solar Panels) | 553.82 | Each | 1 | 14% | 476.28
SLSPR-E19-310-COM | SunPower® E-Series 310W Commercial Solar Panels | SunPower | SPR-E19-310-COM | Solar Modules (Solar Panels) | 267.65 | Each | 1 | 14% | 230.18
SLSPR-E19-410-COM | SunPower® E-Series 410W Commercial Solar Panels | SunPower | SPR-E19-410-COM | Solar Modules (Solar Panels) | 353.99 | Each | 1 | 14% | 304.43
SLSPR-E20-327-COM | SunPower® E-Series 327W Commercial Solar Panels | SunPower | SPR-E20-327-COM | Solar Modules (Solar Panels) | 307.99 | Each | 1 | 14% | 264.87
SLSPR-E20-435-COM | SunPower® E-Series 435W Commercial Solar Panels | SunPower | SPR-E20-435-COM | Solar Modules (Solar Panels) | 512.14 | Each | 1 | 14% | 440.44
SLSPR-E20-330-COM | SunPower® E-Series 330W DC Commercial Solar Panels | SunPower | SPR-E20-330-COM-MLSD | Solar Modules (Solar Panels) | 398.89 | Each | 1 | 14% | 343.04
SLSPR-E20-330-COM-MLSD | SunPower® E-Series 330W DC Commercial Solar Panels | SunPower | SPR-E20-330-COM-MLSD | Solar Modules (Solar Panels) | 445.5 | Each | 1 | 14% | 383.13

## Lot 2 - Installation Services
Lot 2 - Installation Services
Contractor Name: Solar Liberty Energy Systems, Inc.
Region | Item | Description | Not to Exceed Labor Markup Rate (%)1 for Electricians and Laborers
1 | 1 | PV Systems, 0 to 100 kW | 35%
1 | 2 | PV Systems, 101 to 500 kW | 35%
1 | 3 | PV Systems, >500 kW | 35%
2 | 1 | PV Systems, 0 to 100 kW | 35%
2 | 2 | PV Systems, 101 to 500 kW | 35%
2 | 3 | PV Systems, >500 kW | 35%
3 | 1 | PV Systems, 0 to 100 kW | 35%
3 | 2 | PV Systems, 101 to 500 kW | 35%
3 | 3 | PV Systems, >500 kW | 35%
4 | 1 | PV Systems, 0 to 100 kW | 40%
4 | 2 | PV Systems, 101 to 500 kW | 40%
4 | 3 | PV Systems, >500 kW | 40%
5 | 1 | PV Systems, 0 to 100 kW | 35%
5 | 2 | PV Systems, 101 to 500 kW | 35%
5 | 3 | PV Systems, >500 kW | 35%